## SHHEET
General Alarm Status
OAT SENSOR
SAT SENSOR
Unit Enable (BAS)
Control Source
Enable mode (BMS)
Cool Setpoint
COOLING SAT SETPOINT
COOLING Temp SETPOINT_Write
sat_stpt_ht_WRITE
Enable mode (BMS)_Write
Alarm Reset
comp1_liq_pr
comp1_suc_pr
comp1_SUC_pr
DA1 TEMP
C1_HPS
C1-HPS
C1_HI
C1_LPS
C1_LPS
C1-STATUS
C1_MP
comp1_flt
LIQ1 TEMP
comp2_liq_pr
comp2_suc_pr
comp2_SUC_pr
DA2 TEMP
C2_HPS
C2-HPS
C2_HI
C2_LPS
C2_LPS
C2-STATUS
C2_MP
comp2_flt
LIQ2 TEMP
comp3_liq_pr
comp3_suc_pr
comp3_SUC_pr
DA3 TEMP
C3_HPS
C3-HPS
C3_HI
C3_LPS
C3_LPS
C3-STATUS
C3_MP
comp3_flt
LIQ3 TEMP
comp4_liq_pr
comp4_suc_pr
comp4_SUC_pr
DA4 TEMP
C4_HPS
C4-HPS
C4_HI
C4_LPS
C4_LPS
C4-STATUS
C4_MP
comp4_flt
LIQ4 TEMP
DX AIR TEMP1
DX AIR TEMP2
fire alarm
SF1 VFD %
SF1-STATUS
SUP_FAN1 Alarm Status
SF2 VFD %
SF2-STATUS
SUP_FAN2 Alarm Status
SF3 VFD %
SF3-STATUS
SUP_FAN3 Alarm Status